ARCHITECTURAL

FIBERGLASS

CORPORATION

1395 MARCONI BLVD., COPIAGUE. L.I., N.Y. 11726-2814

TEL: 631-842-4772                                                                                                                                                         FAX: 631-842-4790

ph#800-439-2000

e-mail: info@AFCornice.com

ARCHITECTURAL FIBERGLASS

- GUIDE SPECIFICATION -

PART 1.0	     GENERAL

1.01	      RELATED DOCUMENTS:

Drawings and general provisions of the contract.

1.02	     DESCRIPTION OF WORK:

A. Provide prefabricated fiberglass reinforced plastic (FRP) shapes for                 architectural purposes.

B. Work includes, but is not limited to: Restoring and/or sculpting of existing                ornamentation or new trim; mold making, production molding and shop fabrication.

1.03	RELATED WORK:

Specifications for structural steel framing for primary support of FRP panels, and joint sealers at joints between adjacent FRP panels and at perimeter of FRP panel field shall not be part of this specification.

1.04	BUILDING CODE COMPLIANCE:

All work shall conform to building codes as supplied by contracting authority.

1.05	SYSTEM PERFORMANCE:

A. The FRP shapes, when installed shall be capable of withstanding positive and negative wind pressure without structural failure, cracking, crazing, permanent distortion or displacement.

B. Allowable design stresses and resistances shall be conservatively selected by the engineer.

C. Load Bearing Strengths: The maximum temporary deflection due to all loads shall not exceed 1/360th of the distance between supports.

D. Thermal Movement: Design, fabricate and install component parts to provide for expansion and contraction over an ambient temperature range of 1200 without damage.

1.06	JOB CONDITIONS:

Verify dimensions at the job site and adjust final shop drawings and fabricated parts to actual field measurements.

1.07	QUALITY CONTROL:

A. Fabricator shall institute quality control procedures for manufacture of FRP units to control color, texture, dimensions, lines, surfaces and strength of materials.

B. Manufacturer:

1. Manufacturer shall demonstrate its ability and capacity to produce products of the quality and scope of this projects requirements.

2. Manufacturer/Fabricator shall have been actively involved in Architectural FRP Production for at least 3 years.

3. Acceptable Manufacturer:

Architectural Fiberglass Corp.	  ph#800-439-2000

1395 Marconi Blvd.

Copiague, NY 11726-2814

or: qualified and approved equal.

1.08    SUBMITTALS:

A. Shop Drawings

1 .Submit shop drawings showing complete information for the fabrication and installation of FRP units. Indicate member dimensions, and cross-section, location, size and type of reinforcement, including special reinforcement necessary for handling and erection.

2. Provide layout, dimensions and identification of each FRP unit corresponding to the sequence and procedure of installation. Indicate location and details of anchoring devices that are to be embedded in other construction.

3. Samples: Submit two sets of sample (approx. 6" x 12") to illustrate quality, color and texture of finished surface. Approved samples shall become the standard for judging the work.

PART 2.0 MATERIALS

2.01	SURFACE:

A.  The molded exterior surface of the FRP unit shall consist of U-V inhibited, sanitary         grade NPG-ISO polyester gel coat.

B.	  Wet film thickness should be 18 to 22 mils thick.

C.	  Gel coat shall be color matched to sample supplied by Architect.

2.02     	BACK UP LAMINATE:

A. Resin

1.	  Fire retardant, Isophthallic Polyester resin.

2.	Fire retardance to be class 1 per ASTM E-84 test method (flame spread rating of 25 or less)

B. Fiberous Glass Reinforcement

1.  	"E" type fiberglass.

2.	  Random chopped glass fibers.

3.	  Glass content approx. 25% to 30% (15% for filled resin systems).

C. Laminate Thickness

1.	 Nominal thickness approx. 3/16* typ.

2.	Additional thickness and reinforcement, and sandwich structures used where       necessary for structural strength.

2.03	    AVERAGE MECHANICAL PROPERTIES:

PROPERTY		                      VALUE		TEST METHOD

Tensile strength	              12,000 PSI		ASTM D638

Flexural strength	             18,000 PSI		ASTM D790

Flexural modulus	         0.9 x 106 PSI		ASTM D790

Compressive strength     	18,000 PSI		ASTM D695

Bearing strength	              10,000 PSI		ASTM D638

Thermal expansion	            10 x 10-6		(in/in/OF)

Weight/surface area	             1 PSF

NOTE: Certain applications may be best suited to specialty resins not capable of meeting the above mechanical strength values. Such resins will be allowed with compensatory increases in minimum thickness.

2.04     	RELATED MATERIALS:

Attachment and/or hanging structures (supplied by others) shall be of stainless steel, galvanized steel or treated wood blocking.

All hardware (supplied by installers) shall be galvanized or stainless steel.

PART 3.0 EXECUTION

3.01    	INSTALLATION: (By Installation Contractor)

A.    Lift, place and secure FRP units in accordance with Mfgr's shop drawings and as acceptable to Architect.

B.    	Protect units from damage from field operation.

C.	    Caulk all joints with approved elastomeric sealant.

D.    Assure conformity of all as-built structural and attachment substrate dimensions to                    the allowable tolerances for proper installation of prefabricated architectural FRP components.

E.     Coordinate delivery and installation of prefabricated architectural FRP        components with the work of other trades.

F.	Confirm the acceptance of all underlying structure and/or attachment substrate prior to allowing installation of architectural FRP components to proceed.

G.	Do not allow work involving the use of resin or resin based materials to proceed at temperatures below 550 degrees F.

3.02	  WARRANTY

A. The minimum acceptable warranty provisions for architectural FRP components shall be:

1 . All fabrications will be in accordance with approved drawings and specifications.

2.	Materials and workmanship will meet or surpass industry standards for similar work.

3.	Any components found to be defective in materials or workmanship will be either repaired or replaced at the option of the fabricator.

4.	The minimum warranty period will be twelve (12) months following substantial completion.

3.03    	ADJUSTMENT AND CLEANING

A.  Repair (in accordance with manufacturers written procedures) and/or remove and replace any damaged or defective FRP components.

B.	 Clean exposed surfaces of FRP components soiled during the work of this section.

C.	 Clean up all debris resulting from the work of this section.

3.04    	INSPECTION AND ACCEPTANCE

- Final inspection and acceptance of erected FRP panels shall be made by the Architect to verify conformance with plans and specifications.

ARCHITECTURAL FIBERGLASS CORPORATION

1395 MARCONI BLVD., COPIAGUE,  N.Y. 11726-2814

TEL 631 842-4772 - FAX: 631-842-4790  800-439-2000

e-mail: info@AFCornice.com